## Slide 1: Run Training Overview
Solar Power Anomaly Detection pipeline summary

## Slide 2: Data & Model scope
Inputs & Target
  - features: irradiance_wm2, temperature_c (resampled 15 min)
  - target: generation_kw with MinMax scaling
  - Sequence config defaults: input=4, output=1 (1h in -> 15 min out)
DL models: LSTM, CNN-LSTM, Transformer (predict output_steps x n_features)
  Autoencoder reconstructs input window for anomaly detection
ML models: Isolation Forest (contamination 2%) + Random Forest regressor

## Slide 3: Training flow & outputs
Training config
  - epochs=100, batch=32, Adam lr=0.001, patience=15, ReduceLROnPlateau factor=0.5
  - Loss: MSE on flattened output_steps x n_features vector
  - Logs: train/val loss history JSON/CSV, saved checkpoints, plots per model
Anomaly detection: reconstruction MAE or 3 sigma thresholding and ensemble votes
  Comparison outputs: run_config.json, model_comparison.csv, anomaly counts

## Slide 4: Sequence variations
Variants to run
  1) default: --input-steps 4 --output-steps 1 (1h in -> 15 min out)
  2) --input-steps 6 --output-steps 2 (1.5h in -> 30 min out)
  3) --input-steps 8 --output-steps 3 (2h in -> 45 min out)
  DL outputs grow with output_steps x n_features; data module adjusts splits

## Slide 5: Summary & next steps
Recommendations
  - Review loss/anomaly plots for each sequence variant
  - Compare ML vs DL anomaly counts; use ensemble votes if >=2 models
  - Tune lr/batch-size or expand features via config if needed

## Slide 6
Model Architecture Overview
Raw data
(datasets/site_1)
Preprocessing + scaling
(MinMax, sequences)
Deep predictors
LSTM / CNN-LSTM / Transformer
out_steps x n_features
LSTM Autoencoder
(reconstruction)
Outputs + Anomaly flags
3 sigma + ensemble

## Slide 7: Metric Summary Template
Model | MAE | RMSE | Anomaly Count | Notes
LSTM | TBD | TBD | TBD | Default predictor
CNN-LSTM | TBD | TBD | TBD | CNN preprocessing
Transformer | TBD | TBD | TBD | Attention pooled